[image: image1.wmf]

SEPARATION OF PARTICLES BY ASYMMETRIC FLOW FFF 

----------------------------------Polystyrene Latex Beads 

Sample: 

50, 102, 155, 204, 343 nm polystyrene latex beads

System: 

AF2000 Asymmetric Flow FFF, 

Membrane: 

NovaPC 0.01

Channel w: 

0.0152 cm

Detection: 

UV 254 nm/0.05
Carrier solution: 
0.1% FL-70, 0.02% Sodium Azide
Cross flow: 

2.0 ml/min. 

Channel out flow:
1.8 ml/min.

[image: image1.wmf]
UV Absorbance
Retention Time (min)

_____________________________________________________________________________________

postnova analytics, www.postnova.com, info@postnova.com







[image: image2.png]360~
-
an0- 204 nm
275
250-
25-
20-
175-
150-
125-
100-

0bo 250 sbo 7ho 0o 1250 1500 1750 200 2250 2500 27 w0



